{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":33,"n_cols":5,"rows_kept":33,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","EKEACB"]
[]
[]
[]
[]
["","","","","EKEACBVE"]
["Dimensiuni","Unitate","Înălțime","mm","300"]
["","","Lățime","mm","400"]
["","","Adâncime","mm","150"]
["Greutate","Unitate","","kg","5.10"]
["Accesorii standard","Manual de instalare şi utilizare","","","1"]
["","Termistor (R1T)","","","1"]
["","Termistor (R2T)","","","1"]
["","Termistor (R3T)","","","1"]
["","Termistor (R4T)","","","1"]
["","Bandă de izolare 150 x 50","","","4"]
["","Cauciuc spumă CR","","","4"]
["","Console de montaj","","","4"]
["","Şuruburi","","","4"]
["","Capac presetupă pentru borne M20","","","3"]
["","Piuliță de blocare M20","","","3"]
["","Diametru inel O 20","","","3"]
["","Capac presetupă pentru borne M16","","","6"]
["","Piuliță de blocare M16","","","6"]
["","Diametru inel O 16","","","6"]
["","Opritor capac presetupă pentru borne","","","3"]
["","Conexiune întreţesută fir la fir","","","8"]
["","Colier de cabluri","","","8"]
["","Cheie Fibox","","","1"]
["Power supply","Name","","","VE"]
["","Phase","","","1~"]
["","Frecvenţă","","Hz","50/60"]
["","Tensiune","","V","220-240/220"]